## 1 - Instructions
This information is brought to you by Ohio soybean farmers and their checkoff.
For more information, see Ohio Soybean Council's Website and contact page:
http://www.soyohio.org/council/
http://www.soyohio.org/council/contact-us/
Instructions
The worksheet on tab 2 - ROI Estimate may be used to estimate the costs and savings of converting a farm's grain drying from propane to natural gas (NG).
Input from the user may be used for Farm Characteristics and Dryer Conversion items
(green numbers can be altered).
Propane and NG pricing may be obtained from local propane vendors and NG utilities. Cost estimates for Dryer Conversion items in the ROI Estimate tab were obtained by OSC through interviews with Ohio soybean farmers and open source research.
Contact OSC for copies of their Grain Dryer Conversion to Natural Gas and Decision-Makers in the Natural Gas Value Chain fact sheets for more information on conversion options and who to contact.
Discussion
Propane and NG exhibit different energy content as well as prices. A level comparison demands calculation of equivalent units. Key factors in comparing fuel prices:
Propane prices are typically in $/gallon (gal), while NG prices are typically in $/100 cubic feet (ccf)
Fuel energy content is measured in British thermal units (BTU); equivalent units for both fuels are $/million BTU (MBTU)
Propane has 91,500 BTU/gal, while NG has 104,000 BTU/ccf
If propane costs $1.33/gal, then its equivalent price is $14.54/MBTU.
  1,000,000 BTU/(91,500 BTU/gal) = 10.93 gal per MBTU
  10.93 gal per MBTU x $1.33/gal = $14.54/MBTU
If NG costs $0.78/ccf, then its equivalent price is $7.50/MBTU.
  1,000,000 BTU/(104,000 BTU/ccf) = 9.62 ccf per MBTU
  9.62 ccf per MBTU x $0.78/ccf = $7.50/MBTU
If a farm uses 20,000 gal of propane per year at a cost of $26,600, the annual energy equivalent cost of NG would be $13,725, indicating a savings of $12,875 per year.
20,000 gal of propane at $1.33/gal costs $26,600
The energy contained in 20,000 gal of propane is 1830 MBTU
  (20,000 gal x 91,500 BTU/gal)/1,000,000 BTU = 1830 MBTU
The annual energy equivalent cost of NG would be $13,725
  1830 MBTU x $7.50/MBTU of NG = $13,725
$26,600 annual propane cost - $13,725 estimated NG cost = $12,875 savings per year
Depending on what is available to farmers, different options exist to convert propane grain drying to NG. The conversion requires accessing the NG source, connecting the NG source to the farm, and converting the existing propane dryer to NG. Each has associated cost factors, including parts, labor, and permits.
Return on Investment for the conversion is calculated from the total conversion cost divided by the annual fuel savings estimate.

## 2 - ROI Estimate
Farm Characteristics
Annual propane use (gal) | 20000
Propane price ($ per gal) | 1.33
Natural gas price ($ per ccf) | 0.78
Distance from natural gas source to new meter location (ft) | 2640
Distance from meter location to dryer (ft) | 50
Fuel Comparison | Common units | Energy per unit | Units per 1,000,000 BTU (MBTU) | Price per unit | Price per MBTU
Propane | gal | 91500 BTU/gal | 10.929 | 1.33 | 14.5355
Natural Gas | ccf | 104000 BTU/ccf | 9.6154 | 0.78 | 7.5
Fuel Use | Annual use | Annual energy eqivalent (MBTU) | Annual cost
Propane | 20000 | 1830 | 26600
Natural Gas Estimate | 17596.1538 | 1830 | 13725
Annual Savings Estimate |  |  | 12875
Dryer Conversion |  | Extend current service to additional equipment/buildings | Connect to local community distribution system | Connect to local utility transmission line | Connect to interstate transmission pipeline
Connect to Natural Gas Source
| Farm tap | N/A | N/A | 80000 | 100000
| Parts | N/A | Included below | Included in estimated total | Included in etimated total
| Labor and permits | N/A | Included below | Included in estimated total | Included in etimated total
| Sub total | 0 | 0 | 80000 | 100000
Connect NG Source to Farm
| Trench ($1 per foot) | N/A | 2640 | 2640 | 2640
| Meter | 3300 | 3300 | 3300 | 3300
| Parts | Included below | 3300 | 3300 | 3300
| Labor and permits | Included below | 8000 | 9300 | 9300
| Sub total | 3300 | 17240 | 18540 | 18540
Convert Dryer to Natural Gas Use
| Trench ($1 per foot) | 50 | 50 | 50 | 50
| New burner | 2000 | 2000 | 2000 | 2000
| Parts | 2000 | 2000 | 2000 | 2000
| Labor and permits | 2000 | 2000 | 2000 | 2000
| Sub total | 6050 | 6050 | 6050 | 6050
| Grand total | 9350 | 23290 | 104590 | 124590
Return on Investment | Total conversion cost | 9350 | 23290 | 104590 | 124590
| Annual savings estimate | 12875 | 12875 | 12875 | 12875
| Estimated payoff (years) | 0.72621 | 1.8089 | 8.1235 | 9.6769
This information is brought to you by Ohio soybean farmers and their checkoff.
For more information, see Ohio Soybean Council's Website and contact page:
http://www.soyohio.org/council/
http://www.soyohio.org/council/contact-us/